## Test Cases
Feature | Test Case | Steps to execute test case | Expected Output | Actual Output | Status | More Information
Image Upload | Valid Image Upload | 1. Open application 2. Click upload button 3. Select valid skin image (JPG/PNG) 4. Click Analyze 5. Verify processing | Image uploaded successfully and processed within 3 seconds. Disease detected and displayed with confidence score. | Image uploaded and analyzed in 2.5 seconds. Disease "Acne" detected with 92.15% confidence. | Pass | JPG and PNG formats tested successfully. Maximum file size: 10MB. Consider testing with compressed and high-resolution images.
Image Upload | Unsupported Format Upload | 1. Open application 2. Click upload button 3. Select unsupported format (BMP/GIF) 4. Attempt to upload 5. Check error message | Error message displayed: "Unsupported file format. Please upload JPG or PNG." | Error message displayed correctly. Application prevented invalid upload. | Pass | BMP and GIF formats correctly rejected. Validation performed at client-side and server-side.
Image Validation | Valid Skin Image Detection | 1. Upload clear skin disease image 2. Run HSV validation 3. Check skin tone detection 4. Verify acceptance | HSV validation passes. Image accepted for analysis. Processing continues. | HSV validation passed. Image accepted. Processing completed successfully. | Pass | Tested with multiple skin tone variations. HSV ranges calibrated for accuracy. Variance check working correctly.
Image Validation | Non-Skin Image Rejection | 1. Upload non-skin image (landscape/object) 2. Run HSV validation 3. Check rejection logic 4. Verify error message | HSV validation fails due to insufficient skin pixels. Error: "Invalid input. Please upload a clear skin image." | HSV validation rejected non-skin image. Error message displayed as expected. | Pass | Tested with landscape, object, and animal images. All correctly rejected. False negative rate: 0%.
Prediction | Disease Prediction Accuracy | 1. Upload skin disease image 2. Run all 3 models 3. Compare predictions 4. Verify accuracy against known disease | Predictions from all 3 models retrieved. Primary result (Model 3) used. Accuracy >85% verified against test set. | All 3 models executed. Primary result accurate. Test accuracy: 88%. | Pass | Tested with 50+ disease images. Model ensemble voting working. Consider adding confidence threshold logic.
Prediction | Confidence Score Calculation | 1. Get prediction from model 2. Extract softmax probability 3. Convert to percentage 4. Verify range (0-100%) | Softmax probability calculated correctly. Confidence displayed as percentage (e.g., 87.23%). Range verified 0-100%. | Softmax converted to percentage correctly. Sample: 0.8723 → 87.23%. Range confirmed. | Pass | Manual calculation verified against model output. Rounding to 2 decimal places implemented correctly.
Severity Detection | Risk Level Classification | 1. Get disease prediction 2. Look up disease info 3. Check risk level (Low/Medium/High) 4. Verify correct classification | Risk level determined correctly. Displayed as Low/Medium/High with matching color code (Green/Yellow/Red). | Melanoma detected as High risk. Color code (red) applied correctly. | Pass | All risk levels tested (Low, Medium, High). Color coding consistent across platform.
Recommendations | Generate Medical Recommendations | 1. Get prediction result 2. Retrieve disease info from database 3. Extract tips and advice 4. Display to user | Recommendations retrieved and displayed. Tips, advice, and Wikipedia link shown. All fields populated correctly. | All recommendation fields populated with accurate medical information. | Pass | Retrieved from unified disease database. Tips and advice medically accurate. Wikipedia links functional.
Error Handling | Handle Missing File | 1. Submit form without selecting file 2. Verify error handling 3. Check error message display 4. Verify app doesn't crash | Error message displayed: "Please select an image file." Form remains accessible for retry. | Error message displayed. Form remained functional for new upload. | Pass | Validation working as expected. User experience smooth. No crashes observed.
Error Handling | Handle Invalid Input | 1. Try to upload corrupted image file 2. Verify graceful error handling 3. Check user feedback 4. Allow retry | Error message displayed: "Failed to process image. File may be corrupted." Retry button enabled. | Error message displayed. User able to retry with valid image. | Pass | Graceful error handling implemented. Application recovery immediate. Log files created for debugging.